Tabelle 1. Credits, die bei „LEED New Construction“ von Gebäudeautomation abhängen

| Credit Nr. | Credit Name | Punkte* | Punkte mit Automations-Einfluss |
| --- | --- | --- | --- |
| SS Credits 8 | Light pollution reduction | 1 | 1 |
| WE Credit 1 | Water Efficient Landscaping | 2 bis 4+2 | 2-3 |
| WE Credit 2 | Innovative Wastewater Technologies | 2 |  |
| EA Prerequisite 1 | Fundamental Commissioning | Pflicht | indirekt |
| EA Prerequiste 2 | Minimum Energy Performance | Pflicht | Teilweise |
| EA Credit 1 | Optimize Energy Performance (die Punkte sind von Projekt abhängig) | 1 bis 19+1 | 5 für 10 % Energie-verbrauchs-einsparung |
| EA Credit 2 | On-site Renewable Energy | 1 bis 7 | Pflicht |
| EA Credit 3 | Enhanced Commissioning | 2 | 1 |
| EA Credit 5 | Measurement and Verification | 3 | ca. 2 |
| IEQ Prerequisite 1 | Minimum Indoor Air Quality Performance | Pflicht | Pflicht |
| IEQ Prerequisite 2 | Environmental Tobacco Smoke Control | Pflicht | Pflicht |
| IEQ Credit 1 | Outdoor Air Delivery Monitoring | 1 | 1 |
| IEQ Credit 2 | Increased Ventilation | 1 | Indirekt |
| IEQ Credit 3.2 | Construction Indoor Air Quality Management Plan – Before Occupancy | 1 | teilweise ca. 1 Punkt |
| IEQ Credit 5 | Indoor Chemical and Pollutant Source Control | 1 | teilweise |
| IEQ Credit 6.1 | Controllability of Systems-Lighting | 1 | teilweise |
| IEQ Credit 6.2 | Controllability of Systems-Thermal Comfort | 1 | teilweise |
| IEQ Credit 7.1 | Thermal Control-Design | 1 | 1 |
| IEQ Credit 7.2 | Thermal Control – Verification | 1 | teilweise |
| IEQ Credit 8.1 | Daylight and Views – Daylight | 1 | teilweise |
| Bonus Innovation | Innovation in Design | 1 bis 5 | ca. 1 |

* “+1” bedeutet, dass ein Exemplary Point zu diesem Credit möglich ist.